| PT NIRWANA BHUMI ENERGY | WORKPLACE INSPECTION CHECKLIST AND CORRECTIVE ACTION REQUEST FORM | Form No: 0013-FOR-HSE-COO-X-2026 Revision: 0 Date: October 2026 |
| --- | --- | --- |
| Standard Operational Reference: 0007-SOP-HSE-CEO-X-2026 |  |  |

| Project / Facility: | PT NBE Main Yard & Operating Site | Inspection Date: | October 2026 |
| --- | --- | --- | --- |
| Lead Inspector: | HSE Officer & Area Supervisor | CAR Priority Level: | Priority 1 / 2 / 3 |

| No | Inspection Item / Hazard Observed | Defect Category | Corrective Action Required (CAR) | Due Date / PIC |
| --- | --- | --- | --- | --- |
| 1 | Damaged insulation on portable welding lead cable | Electrical Safety | Tag out cable immediately and replace lead wire | < 24 Hrs / Tech |
| 2 | Missing cylinder safety cap on stored oxygen bottle | Pressurized Gas | Fit valve protection cap and secure with chain | < 24 Hrs / Yard Lead |
| 3 | Obstructed access to APAR 12kg DCP at Warehouse | Fire Protection | Clear pallets to maintain 1-meter clear clearance | Immediate / PIC |
| 4 | Trip hazard from loose hoses across pedestrian walkway | Housekeeping | Reroute hoses using overhead cable bridges | < 48 Hrs / Supv |
| 5 | Scaffolding tag missing green inspection status | Work at Height | Inspect structure and install current green Scafftag | < 24 Hrs / Scaffolder |

| Field Inspector (HSE): | Area Superintendent / PIC: | Close-Out Verification (CTO): |
| --- | --- | --- |
| Signature: Date: October 2026 | Signature: Date: October 2026 | Signature: Date: October 2026 |